{"text_format":"3","workbook":"xlsx","n_sheets":8,"sheets":["表-08 分部分项工程和单价措施项目清单与计价表【广州市花","表-11 总价措施项目清单与计价表【广州市花都区职业技术学","表-12 其他项目清单与计价汇总表【广州市花都区职业技术学","表-13 规费、税金项目清单与计价表【广州市花都区职业技术","表-08 分部分项工程和单价措施项目清单与计价表【广州市花_1","表-11 总价措施项目清单与计价表【广州市花都区职业技术学_1","表-12 其他项目清单与计价汇总表【广州市花都区职业技术学_1","表-13 规费、税金项目清单与计价表【广州市花都区职业技术_1"],"read":"whole","date_system":"1900"}

{"sheet":"表-08 分部分项工程和单价措施项目清单与计价表【广州市花","index":0,"n_rows":81,"n_cols":11,"rows_kept":81,"merged":[[0,0,0,10],[1,0,1,3],[1,4,1,7],[1,8,1,10],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,4],[2,5,4,5],[2,6,4,6],[2,7,2,10],[3,7,4,8],[3,9,4,9],[5,3,5,4],[5,7,5,8],[6,3,6,4],[6,7,6,8],[7,3,7,4],[7,7,7,8],[8,3,8,4],[8,7,8,8],[9,3,9,4],[9,7,9,8],[10,3,10,4],[10,7,10,8],[11,3,11,4],[11,7,11,8],[12,3,12,4],[12,7,12,8],[13,3,13,4],[13,7,13,8],[14,0,14,8],[15,0,15,10],[16,0,16,3],[16,4,16,7],[16,8,16,10],[17,0,17,10],[18,0,18,3],[18,4,18,7],[18,8,18,10],[19,0,21,0],[19,1,21,1],[19,2,21,2],[19,3,21,4],[19,5,21,5],[19,6,21,6],[19,7,19,10],[20,7,21,8],[20,9,21,9],[22,3,22,4],[22,7,22,8],[23,3,23,4],[23,7,23,8],[24,3,24,4],[24,7,24,8],[25,3,25,4],[25,7,25,8],[26,3,26,4],[26,7,26,8],[27,3,27,4],[27,7,27,8],[28,3,28,4],[28,7,28,8],[29,3,29,4],[29,7,29,8],[30,3,30,4],[30,7,30,8],[31,0,31,8],[32,0,32,10],[33,0,33,3],[33,4,33,7],[33,8,33,10],[34,0,34,10],[35,0,35,3],[35,4,35,7],[35,8,35,10],[36,0,38,0],[36,1,38,1],[36,2,38,2],[36,3,38,4],[36,5,38,5],[36,6,38,6],[36,7,36,10],[37,7,38,8],[37,9,38,9],[39,3,39,4],[39,7,39,8],[40,3,40,4],[40,7,40,8],[41,3,41,4],[41,7,41,8],[42,3,42,4],[42,7,42,8],[43,3,43,4],[43,7,43,8],[44,3,44,4],[44,7,44,8],[45,3,45,4],[45,7,45,8],[46,3,46,4],[46,7,46,8],[47,3,47,4],[47,7,47,8],[48,3,48,4],[48,7,48,8],[49,3,49,4],[49,7,49,8],[50,3,50,4],[50,7,50,8],[51,0,51,8],[52,0,52,10],[53,0,53,3],[53,4,53,7],[53,8,53,10],[54,0,54,10],[55,0,55,3],[55,4,55,7],[55,8,55,10],[56,0,58,0],[56,1,58,1],[56,2,58,2],[56,3,58,4],[56,5,58,5],[56,6,58,6],[56,7,56,10],[57,7,58,8],[57,9,58,9],[59,3,59,4],[59,7,59,8],[60,3,60,4],[60,7,60,8],[61,3,61,4],[61,7,61,8],[62,3,62,4],[62,7,62,8],[63,3,63,4],[63,7,63,8],[64,3,64,4],[64,7,64,8],[65,3,65,4],[65,7,65,8],[66,3,66,4],[66,7,66,8],[67,3,67,4],[67,7,67,8],[68,3,68,4],[68,7,68,8],[69,3,69,4],[69,7,69,8],[70,3,70,4],[70,7,70,8],[71,3,71,4],[71,7,71,8],[72,3,72,4],[72,7,72,8],[73,3,73,4],[73,7,73,8],[74,3,74,4],[74,7,74,8],[75,3,75,4],[75,7,75,8],[76,3,76,4],[76,7,76,8],[77,0,77,8],[78,0,78,8],[79,0,79,10],[80,0,80,3],[80,4,80,7],[80,8,80,10]]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程（电气部分）",{"$nulls":3},"标段：",{"$nulls":3},"第 1 页  共 4 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[null,null,"高压部分"]
[1,"030408001002","拆除电力电缆，ZC-YJV22-8.7/15kV -3×70mm2","1.名称:拆除电力电缆，ZC-YJV22-8.7/15kV -3×70mm2",null,"m",355]
[2,"030408006010","拆除电缆终端头(户内)HN3\\70^2","1.名称:拆除电缆终端头(户内)HN3\\70^2",null,"个",4]
[3,"030401002001","拆除干式变压器 SCB10-500kVA","1.名称:拆除干式变压器 SCB10-500kVA",null,"台",1]
[4,"030402017001","拆除高压成套配电柜","1.名称:拆除高压成套配电柜",null,"台",3]
[5,"030404004001","拆除低压开关柜(屏)","1.名称:拆除低压开关柜(屏)",null,"台",4]
[6,"030408001001","10kV电力电缆，ZC-YJV22-8.7/15kV -3×70mm2","1.名称:10kV电力电缆，ZC-YJV22-8.7/15kV -3×70mm2\n2.型号:10kV电力电缆，ZRYJV22-8.7/15kV -\n3.规格:3×70mm2\n4.材质:铜芯\n5.敷设方式、部位:综合考虑\n6.电压等级(kV):10kV\n7.地形:平地",null,"m",160]
[7,"030408006008","肘型电缆终端头(户内)HN3\\70^2","1.名称：肘型电缆终端头(户内)HN3\\70^2\n2.型号:肘形电缆头\n3.规格:70mm2\n4.材质、类型:冷缩型\n5.安装部位:室内\n6.电压等级(kV):10kV",null,"个",1]
[8,"030408006009","电缆终端头(户内)HN3\\70^2","1.名称:电缆终端头(户内)HN3\\70^2\n2.型号:冷缩型电缆终端头(户内)\n3.规格:70mm2\n4.材质、类型:冷缩型\n5.安装部位:室内\n6.电压等级(kV):10kV",null,"个",1]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程（电气部分）",{"$nulls":3},"标段：",{"$nulls":3},"第 2 页  共 4 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[9,"030413001001","电缆终端头固定夹","1.名称:电缆终端头固定夹\n2.材质:镀锌角钢\n3.规格:电缆固定夹φ80、电缆角铁〔支顶〕，∠6.3/6/600\n4.其他:接地",null,"套",2]
[10,"030402018001","欧式箱变 1000kVA（高压柜3台+S11-M-1000kVAkVA+5面低压柜GGD","1.名称:欧式箱变 800kVA（高压柜3台+S11-M-800kVAkVA+5面低压柜GGD\n2.容量（kV·A):800kVA\n4.电压(kV):10kV\n5.组合形式:欧式\n6.其他:中性点重复接地（保护接地）材料；详见图纸\n7.租赁期：3月，包含日常维护及竣工后拆除",null,"台",1]
[11,"030402018003","欧式箱变 1000kVA拆除","1.名称:欧式箱变 1000kVA拆除",null,"台",1]
[12,"030409001001","接地极 5*50*2500","1.名称:接地极 5*50*2500\n2.材质:镀锌角钢\n3.规格:5*50*2500\n4.土质:坚土",null,"根",6]
[13,"080808002001","接地母线","1.名称:接地母线\n2.材质:镀锌圆钢\n3.规格:Φ16\n4.安装部位:埋地敷设\n5.安装形式:接地网",null,"m",33]
[14,"030408008001","防鼠堵洞","1.名称:防鼠堵洞\n2.材质:防鼠泥\n3.方式:综合\n4.部位:综合",null,"处",6]
[15,"030901013003","灭火器","1.形式:放置式\n2.规格、型号:ABC干粉灭火器 4kg",null,"具",3]
[16,"030414011001","接地装置调试 接地网","1.名称:接地装置调试 接地网",null,"系统",1]
[17,"030414002001","送配电装置系统调试 (综合) 10kV以下交流供电","1.名称:送配电装置系统调试 (综合) 10kV以下交流供电\n2.电压等级(kV):10KV",null,"系统",3]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程（电气部分）",{"$nulls":3},"标段：",{"$nulls":3},"第 3 页  共 4 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[18,"030414002002","送配电装置系统调试 (综合) 1kV以下交流供电","1.名称:送配电装置系统调试 (综合) 1kV以下交流供电\n2.电压等级(kV):1KV",null,"系统",1]
[19,"030414015003","电缆试验 10KV电缆交流耐压试验","1.名称:电缆试验 10KV电缆交流耐压试验\n2.电压等级(kV):10KV",null,"次",1]
[20,"030414015002","特殊保护装置调试 线路保护","1.名称:特殊保护装置调试 线路保护\n2.电压等级(kV):10KV",null,"次",2]
[21,"030404031002","安健环挂牌","1.名称:安健环挂牌\n2.型号:反光标志牌(禁止攀登)300*240，反光标志牌(止步高压危险)，反光标志牌(当心触电)300*240，300*240标志牌（禁止合闸线路有人工作），200*80、标志牌(在运行中），200*80、标语牌(一次结线图)空白，520*400，安健环贴纸",null,"项",1]
[22,"030404031001","绝缘工具","1.名称:绝缘工具\n2.规格:10KV验电笔(声光)、绝缘手套12KV、绝缘水鞋25KV",null,"套",1]
[23,"030404031003","挂锁","1.名称:挂锁",null,"套",3]
[null,null,"高压部分合计"]
[null,null,"低压部分"]
[24,"030408001004","铜铝过渡线夹","1.名称:铜铝过渡线夹",null,"个",88]
[25,"030408001018","低压电缆4×50mm2（利旧）","1.名称:低压电缆4×50mm2（利旧）",null,"m",198]
[26,"030408001019","低压电缆4×120mm2（利旧）","1.名称:低压电缆4×120mm2（利旧）",null,"m",198]
[27,"030408001020","电力电缆 ZCYJV-4×120mm2+1×70mm2","1.名称:电力电缆 ZRYJV-4×120mm2+1×70mm2\n2.敷设方式、部位:综合考虑\n3.电压等级(kV):1",null,"m",150]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程（电气部分）",{"$nulls":3},"标段：",{"$nulls":3},"第 4 页  共 4 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[28,"030408001021","电力电缆 ZCYJV-4×70mm2+1×35mm2","1.名称:电力电缆 ZRYJV-4×70mm2+1×35mm2\n2.敷设方式、部位:综合考虑\n3.电压等级(kV):1",null,"m",90]
[29,"030408001022","电力电缆 ZCYJV-4×25mm2+1×16mm2","1.名称:电力电缆 ZRYJV-4×25mm2+1×16mm2\n2.敷设方式、部位:综合考虑\n3.电压等级(kV):1",null,"m",60]
[30,"030408001023","电力电缆 ZCYJV-5×16mm2","1.名称:电力电缆 ZCYJV-5×16mm2\n2.敷设方式、部位:综合考虑\n3.电压等级(kV):1",null,"m",30]
[31,"030408001024","低压电缆中间头 4×120mm2+1×70mm2","1.名称:低压电缆中间头 4×120mm2+1×70mm2",null,"个",5]
[32,"030408001025","低压电缆中间头 4×70mm2+1×35mm2","1.名称:低压电缆中间头 4×70mm2+1×35mm2",null,"个",3]
[33,"030408001026","低压电缆中间头 4×25mm2+1×16mm2","1.名称:低压电缆中间头 4×25mm2+1×16mm2",null,"个",2]
[34,"030408001027","低压电缆中间头 5×16mm2","1.名称:低压电缆中间头 5×16mm2",null,"个",1]
[null,null,"低压部分合计"]
[null,null,"分部分项合计"]
[null,null,"措施项目"]
[35,"031301017001","脚手架搭拆费",null,null,"项",1]
[null,null,"单价措施合计"]
[]
[]
[]
[]
[]
[]
["本页小计"]
["合   计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]

{"sheet":"表-11 总价措施项目清单与计价表【广州市花都区职业技术学","index":1,"n_rows":49,"n_cols":11,"rows_kept":49,"merged":[[0,0,0,10],[1,0,1,4],[1,5,1,7],[1,8,1,10],[2,4,2,5],[2,7,2,8],[3,4,3,5],[3,7,3,8],[4,4,4,5],[4,7,4,8],[5,4,5,5],[5,7,5,8],[6,4,6,5],[6,7,6,8],[7,4,7,5],[7,7,7,8],[8,4,8,5],[8,7,8,8],[9,4,9,5],[9,7,9,8],[10,4,10,5],[10,7,10,8],[11,4,11,5],[11,7,11,8],[12,0,12,4],[12,5,12,10],[13,0,13,4],[13,5,13,7],[13,8,13,10],[14,0,14,10],[15,0,15,4],[15,5,15,7],[15,8,15,10],[16,4,16,5],[16,7,16,8],[17,4,17,5],[17,7,17,8],[18,4,18,5],[18,7,18,8],[19,4,19,5],[19,7,19,8],[20,4,20,5],[20,7,20,8],[21,4,21,5],[21,7,21,8],[22,4,22,5],[22,7,22,8],[23,4,23,5],[23,7,23,8],[24,4,24,5],[24,7,24,8],[25,4,25,5],[25,7,25,8],[26,4,26,5],[26,7,26,8],[27,4,27,5],[27,7,27,8],[28,4,28,5],[28,7,28,8],[29,4,29,5],[29,7,29,8],[30,4,30,5],[30,7,30,8],[31,4,31,5],[31,7,31,8],[32,4,32,5],[32,7,32,8],[33,4,33,5],[33,7,33,8],[34,4,34,5],[34,7,34,8],[35,4,35,5],[35,7,35,8],[36,4,36,5],[36,7,36,8],[37,4,37,5],[37,7,37,8],[38,4,38,5],[38,7,38,8],[39,4,39,5],[39,7,39,8],[40,4,40,5],[40,7,40,8],[41,4,41,5],[41,7,41,8],[42,4,42,5],[42,7,42,8],[43,4,43,5],[43,7,43,8],[44,4,44,5],[44,7,44,8],[45,4,45,5],[45,7,45,8],[46,0,46,5],[46,7,46,8],[47,0,47,4],[47,5,47,10],[48,0,48,4],[48,5,48,7],[48,8,48,10]]}
["总价措施项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程（电气部分）",{"$nulls":4},"标段：",null,null,"第 1 页  共 2 页"]
["序号","项目编码","项目名称","计算基础","费率\n(%)",null,"金额\n(元)","调整费率\n(%)",null,"调整后金额\n(元)","备注"]
["1","LSSGCSF00001","绿色施工安全防护措施费","分部分项人工费+分部分项机械费","35.77",null,15927.41,{"$nulls":3},"以分部分项的人工费与施工机具费之和为计算基础，费率35.77%"]
["2","031301010001","安装与生产同时进行增加费用","分部分项人工费","0",{"$nulls":5},"按人工费的10%计算"]
["3","031301011001","在有害身体健康环境中施工增加费","分部分项人工费","0",{"$nulls":5},"按人工费的10%计算"]
["4","TSSGBWZJF001","在地下（暗）室、设备及大口径管道内等特殊施工部位进行施工增加费",null,"30",{"$nulls":5},"按该部分人工费的30%计算"]
["5","粤031302008001","赶工措施费","分部分项人工费+分部分项机械费","0",{"$nulls":5},"赶工措施费=（1-δ）*分部分项（人工费+施工机具费）*3.44% （0.8≤δ＜1   式中：δ=合同工期/定额工期）"]
["6","031302002001","夜间施工增加费",null,"20",{"$nulls":5},"按其夜间施工项目人工费的20%计算"]
["7","JTGRSGZJF001","交通干扰工程施工增加费",null,"10",{"$nulls":5},"按在市政道路上施工项目人工费的10%计算"]
["8","粤031302009001","文明工地增加费","分部分项人工费+分部分项机械费","0",{"$nulls":5},"以分部分项的人工费与施工机具费之和为计算基础；市级文明工地1.00%；省级文明工地2.00%"]
["9","DXGXJCJXF001","地下管线交叉降效费",{"$nulls":7},"按实际发生或经批准的施工方案计算"]
["编制人（造价人员）：",{"$nulls":4},"复核人（造价工程师）："]
[{"$nulls":8},"表-11"]
["总价措施项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程（电气部分）",{"$nulls":4},"标段：",null,null,"第 2 页  共 2 页"]
["序号","项目编码","项目名称","计算基础","费率\n(%)",null,"金额\n(元)","调整费率\n(%)",null,"调整后金额\n(元)","备注"]
["10","QTFY00000001","其他费用",{"$nulls":7},"按实际发生或经批准的施工组织设计方案计算"]
{"$rows_empty":28}
["合    计"]
["编制人（造价人员）：",{"$nulls":4},"复核人（造价工程师）："]
[{"$nulls":8},"表-11"]

{"sheet":"表-12 其他项目清单与计价汇总表【广州市花都区职业技术学","index":2,"n_rows":38,"n_cols":7,"rows_kept":38,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,4],[1,5,1,6],[2,2,2,3],[2,4,2,5],[3,2,3,3],[3,4,3,5],[4,2,4,3],[4,4,4,5],[5,2,5,3],[5,4,5,5],[6,2,6,3],[6,4,6,5],[7,2,7,3],[7,4,7,5],[8,2,8,3],[8,4,8,5],[9,2,9,3],[9,4,9,5],[10,2,10,3],[10,4,10,5],[11,2,11,3],[11,4,11,5],[12,2,12,3],[12,4,12,5],[13,2,13,3],[13,4,13,5],[14,2,14,3],[14,4,14,5],[15,2,15,3],[15,4,15,5],[16,2,16,3],[16,4,16,5],[17,2,17,3],[17,4,17,5],[18,2,18,3],[18,4,18,5],[19,2,19,3],[19,4,19,5],[20,2,20,3],[20,4,20,5],[21,2,21,3],[21,4,21,5],[22,2,22,3],[22,4,22,5],[23,2,23,3],[23,4,23,5],[24,2,24,3],[24,4,24,5],[25,2,25,3],[25,4,25,5],[26,2,26,3],[26,4,26,5],[27,2,27,3],[27,4,27,5],[28,2,28,3],[28,4,28,5],[29,2,29,3],[29,4,29,5],[30,2,30,3],[30,4,30,5],[31,2,31,3],[31,4,31,5],[32,2,32,3],[32,4,32,5],[33,2,33,3],[33,4,33,5],[34,2,34,3],[34,4,34,5],[35,0,35,1],[35,2,35,3],[35,4,35,5],[36,0,36,6],[37,0,37,2],[37,3,37,4],[37,5,37,6]]}
["其他项目清单与计价汇总表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程（电气部分）",null,null,"标段：",null,"第 1 页  共 1 页"]
["序号","项目名称","金额（元）",null,"结算金额（元）",null,"备注"]
["1","暂列金额","0.00",{"$nulls":3},"明细详见表-12-1"]
["2","暂估价","0.00"]
["2.1","材料暂估价","—",{"$nulls":3},"明细详见表-12-2"]
["2.2","专业工程暂估价","0.00",{"$nulls":3},"明细详见表-12-3"]
["3","计日工",{"$nulls":4},"明细详见表-12-4"]
["4","总承包服务费",{"$nulls":4},"明细详见表-12-5"]
["5","预算包干费"]
["6","工程优质费"]
["7","概算幅度差"]
["8","现场签证费用"]
["9","索赔费用"]
["10","其他费用"]
{"$rows_empty":20}
["合    计",{"$nulls":5},"—"]
["注：材料（工程设备）暂估单价进入清单项目综合单价，此处不汇总。"]
[{"$nulls":5},"表—12"]

{"sheet":"表-13 规费、税金项目清单与计价表【广州市花都区职业技术","index":3,"n_rows":37,"n_cols":7,"rows_kept":37,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,4],[1,5,1,6],[2,4,2,5],[3,4,3,5],[4,4,4,5],[5,4,5,5],[6,4,6,5],[7,4,7,5],[8,4,8,5],[9,4,9,5],[10,4,10,5],[11,4,11,5],[12,4,12,5],[13,4,13,5],[14,4,14,5],[15,4,15,5],[16,4,16,5],[17,4,17,5],[18,4,18,5],[19,4,19,5],[20,4,20,5],[21,4,21,5],[22,4,22,5],[23,4,23,5],[24,4,24,5],[25,4,25,5],[26,4,26,5],[27,4,27,5],[28,4,28,5],[29,4,29,5],[30,4,30,5],[31,4,31,5],[32,4,32,5],[33,4,33,5],[34,0,34,5],[35,0,35,2],[35,3,35,6],[36,0,36,2],[36,3,36,4],[36,5,36,6]]}
["规费、税金项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程（电气部分）",null,null,"标段：",null,"第 1 页  共 1 页"]
["序号","项目名称","计算基础","计算基数","计算费率\n(%)",null,"金额(元)"]
["1","增值税销项税额","分部分项合计+措施合计+其他项目",null,"9"]
{"$rows_empty":30}
["合    计"]
[" 编制人（造价人员）：",null,null,"复核人（造价工程师）："]
[{"$nulls":5},"表—13"]

{"sheet":"表-08 分部分项工程和单价措施项目清单与计价表【广州市花_1","index":4,"n_rows":43,"n_cols":11,"rows_kept":43,"merged":[[0,0,0,10],[1,0,1,3],[1,4,1,7],[1,8,1,10],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,4],[2,5,4,5],[2,6,4,6],[2,7,2,10],[3,7,4,8],[3,9,4,9],[5,3,5,4],[5,7,5,8],[6,3,6,4],[6,7,6,8],[7,3,7,4],[7,7,7,8],[8,3,8,4],[8,7,8,8],[9,3,9,4],[9,7,9,8],[10,3,10,4],[10,7,10,8],[11,3,11,4],[11,7,11,8],[12,3,12,4],[12,7,12,8],[13,3,13,4],[13,7,13,8],[14,3,14,4],[14,7,14,8],[15,3,15,4],[15,7,15,8],[16,3,16,4],[16,7,16,8],[17,0,17,8],[18,0,18,10],[19,0,19,3],[19,4,19,7],[19,8,19,10],[20,0,20,10],[21,0,21,3],[21,4,21,7],[21,8,21,10],[22,0,24,0],[22,1,24,1],[22,2,24,2],[22,3,24,4],[22,5,24,5],[22,6,24,6],[22,7,22,10],[23,7,24,8],[23,9,24,9],[25,3,25,4],[25,7,25,8],[26,3,26,4],[26,7,26,8],[27,3,27,4],[27,7,27,8],[28,3,28,4],[28,7,28,8],[29,3,29,4],[29,7,29,8],[30,3,30,4],[30,7,30,8],[31,3,31,4],[31,7,31,8],[32,3,32,4],[32,7,32,8],[33,3,33,4],[33,7,33,8],[34,3,34,4],[34,7,34,8],[35,3,35,4],[35,7,35,8],[36,3,36,4],[36,7,36,8],[37,3,37,4],[37,7,37,8],[38,3,38,4],[38,7,38,8],[39,0,39,8],[40,0,40,8],[41,0,41,10],[42,0,42,3],[42,4,42,7],[42,8,42,10]]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程(土建部分）",{"$nulls":3},"标段：",{"$nulls":3},"第 1 页  共 2 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[null,null,"高压土建部分"]
[1,"030402018001","箱变变电站基础","1.名称:箱式变电站基础\n2.基础规格、浇筑材质:C25",null,"座",1]
[2,"040504001001","箱变基础人孔井","1.名称:箱变基础人孔井\n2.砖砌",null,"座",2]
[3,"040309001002","箱变围栏","1.名称：箱变围栏\n2.材质规格：4mm50*50镀锌钢丝网，φ150*5镀锌钢管（外贴3mm红白相间反光膜），50*25*3镀锌方钢\n3.综合考虑;安全标识，围护高度，安装制作，接地\n4.综合考虑：防腐、除锈、油漆等\n5.其他详见图纸",null,"套",1]
[4,"030408003001","1层2列排管（行车） Φ160×8mm DBW-R玻璃钢管","1.名称:1层2列排管（行车） Φ160×8mm DBW-R玻璃钢管\n2.材质:Φ160×8mm DBW-R玻璃钢管",null,"m",8]
[5,"050307009003","通管","1、名称：通管\n2、其他满足设计与清单规范要求",null,"m",120]
[6,"041001001001","破除广场砖","1、名称：破除广场砖\n2、其他满足设计与清单规范要求",null,"m2",16]
[7,"040203007001","修复广场砖","1、名称：修复广场砖\n2、其他满足设计与清单规范要求\n3、广场砖利旧，使用原有广场砖",null,"m2",16]
[8,"050307009002","电缆标志牌","1、名称：电缆标志牌\n2、其他满足设计与清单规范要求",null,"个",15]
[9,"041001001003","拆除箱变基础","1、名称：拆除箱变基础\n2、其他满足设计与清单规范要求",null,"座",1]
[null,null,"高压土建部分合计"]
[null,null,"低压土建部分"]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程(土建部分）",{"$nulls":3},"标段：",{"$nulls":3},"第 2 页  共 2 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[10,"030408003003","2层3列排管（行车） Φ160×8mm DBW-R玻璃钢管","1.名称:2层3列排管（行车） Φ160×8mm DBW-R玻璃钢管\n2.材质:Φ160×8mm DBW-R玻璃钢管",null,"m",20]
[11,"040504002005","2层3列排管（行车）直通井","1.2层3列排管（行车）直通井\n2.垫层、基础材质及厚度:C15\n3.井身:C25混凝土\n4.盖板材质、规格:预制钢筋砼盖板:预制砼盖板(防盗型) 1150×300×150\n5.井盖、井圈材质及规格:C25\n6.防渗、防水要求:井内部批1:2.5水泥砂浆，厚度15mm。",null,"座",1]
[12,"041001001004","破除广场砖","1、名称：破除广场砖\n2、其他满足设计与清单规范要求",null,"m2",40]
[13,"040203007003","修复广场砖","1、名称：修复广场砖\n2、其他满足设计与清单规范要求\n3、广场砖利旧，使用原有广场砖",null,"m2",40]
[14,"040203007004","钻孔","1、名称：钻孔\n2、其他满足设计与清单规范要求",null,"个",6]
[null,null,"低压土建部分合计"]
[null,null,"分部分项合计"]
[null,null,"措施项目"]
[15,"粤050401008001","施工围栏",null,null,"m",24]
[16,null,"箱变基础",null,null,"项",1]
[17,null,"箱变基础人孔井",null,null,"项",1]
[18,null,"2层3列排管（行车）直通井",null,null,"项",1]
[null,null,"单价措施合计"]
[]
["本页小计"]
["合   计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]

{"sheet":"表-11 总价措施项目清单与计价表【广州市花都区职业技术学_1","index":5,"n_rows":35,"n_cols":11,"rows_kept":35,"merged":[[0,0,0,10],[1,0,1,4],[1,5,1,7],[1,8,1,10],[2,4,2,5],[2,7,2,8],[3,4,3,5],[3,7,3,8],[4,4,4,5],[4,7,4,8],[5,4,5,5],[5,7,5,8],[6,4,6,5],[6,7,6,8],[7,0,7,4],[7,5,7,10],[8,0,8,4],[8,5,8,7],[8,8,8,10],[9,0,9,10],[10,0,10,4],[10,5,10,7],[10,8,10,10],[11,4,11,5],[11,7,11,8],[12,4,12,5],[12,7,12,8],[13,4,13,5],[13,7,13,8],[14,4,14,5],[14,7,14,8],[15,4,15,5],[15,7,15,8],[16,4,16,5],[16,7,16,8],[17,4,17,5],[17,7,17,8],[18,4,18,5],[18,7,18,8],[19,4,19,5],[19,7,19,8],[20,4,20,5],[20,7,20,8],[21,4,21,5],[21,7,21,8],[22,4,22,5],[22,7,22,8],[23,4,23,5],[23,7,23,8],[24,4,24,5],[24,7,24,8],[25,4,25,5],[25,7,25,8],[26,4,26,5],[26,7,26,8],[27,4,27,5],[27,7,27,8],[28,4,28,5],[28,7,28,8],[29,4,29,5],[29,7,29,8],[30,4,30,5],[30,7,30,8],[31,4,31,5],[31,7,31,8],[32,0,32,5],[32,7,32,8],[33,0,33,4],[33,5,33,10],[34,0,34,4],[34,5,34,7],[34,8,34,10]]}
["总价措施项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程(土建部分）",{"$nulls":4},"标段：",null,null,"第 1 页  共 2 页"]
["序号","项目编码","项目名称","计算基础","费率\n(%)",null,"金额\n(元)","调整费率\n(%)",null,"调整后金额\n(元)","备注"]
["1","LSSGCSF00001","绿色施工安全防护措施费","分部分项人工费+分部分项机具费","19.8",null,7609.45,{"$nulls":3},"以分部分项的人工费与施工机具费之和为计算基础；以专业工程类型\n区分不同费率计算；\n单独场地平整工程费率为4.35%；\n道路、管网工程费率为16.50%；\n桥涵、隧道、水处理构筑物工程费率为14.50%；\n\n分部分项工程总费用在300 万元以内（含300 万元）的项目按基本费率乘以1.20；"]
["2","粤041109009001","文明工地增加费","分部分项人工费+分部分项机具费","0",{"$nulls":5},"以分部分项的人工费与施工机具费之和为计算基础；市级文明工地0.60%；省级文明工地1.20%"]
["3","041109002001","夜间施工增加费",null,"20",{"$nulls":5},"以夜间施工项目人工费的20%计算"]
["4","041109005001","交通疏解员增加费",null,"15",{"$nulls":5},"按照项目分部分项人工费的15%计算（有方案的按照方案计算），"]
["编制人（造价人员）：",{"$nulls":4},"复核人（造价工程师）："]
[{"$nulls":8},"表-11"]
["总价措施项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程(土建部分）",{"$nulls":4},"标段：",null,null,"第 2 页  共 2 页"]
["序号","项目编码","项目名称","计算基础","费率\n(%)",null,"金额\n(元)","调整费率\n(%)",null,"调整后金额\n(元)","备注"]
[{"$nulls":10},"结算时据实结算。"]
["5","041108001001","地下管线交叉降效费",null,"0",{"$nulls":5},"按实际发生或经批准的施工方案计算"]
["6","粤041109008001","赶工措施费","分部分项人工费+分部分项机具费","0",{"$nulls":5},"赶工措施费=（1-δ）*分部分项的（人工费+施工机具费）*0.30 （0.8≤δ＜1   式中：δ=合同工期/定额工期）"]
["7","QTFY00000001","其他费用",{"$nulls":7},"按实际发生或经批准的施工组织设计方案计算"]
{"$rows_empty":16}
["合    计"]
["编制人（造价人员）：",{"$nulls":4},"复核人（造价工程师）："]
[{"$nulls":8},"表-11"]

{"sheet":"表-12 其他项目清单与计价汇总表【广州市花都区职业技术学_1","index":6,"n_rows":38,"n_cols":7,"rows_kept":38,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,4],[1,5,1,6],[2,2,2,3],[2,4,2,5],[3,2,3,3],[3,4,3,5],[4,2,4,3],[4,4,4,5],[5,2,5,3],[5,4,5,5],[6,2,6,3],[6,4,6,5],[7,2,7,3],[7,4,7,5],[8,2,8,3],[8,4,8,5],[9,2,9,3],[9,4,9,5],[10,2,10,3],[10,4,10,5],[11,2,11,3],[11,4,11,5],[12,2,12,3],[12,4,12,5],[13,2,13,3],[13,4,13,5],[14,2,14,3],[14,4,14,5],[15,2,15,3],[15,4,15,5],[16,2,16,3],[16,4,16,5],[17,2,17,3],[17,4,17,5],[18,2,18,3],[18,4,18,5],[19,2,19,3],[19,4,19,5],[20,2,20,3],[20,4,20,5],[21,2,21,3],[21,4,21,5],[22,2,22,3],[22,4,22,5],[23,2,23,3],[23,4,23,5],[24,2,24,3],[24,4,24,5],[25,2,25,3],[25,4,25,5],[26,2,26,3],[26,4,26,5],[27,2,27,3],[27,4,27,5],[28,2,28,3],[28,4,28,5],[29,2,29,3],[29,4,29,5],[30,2,30,3],[30,4,30,5],[31,2,31,3],[31,4,31,5],[32,2,32,3],[32,4,32,5],[33,2,33,3],[33,4,33,5],[34,2,34,3],[34,4,34,5],[35,0,35,1],[35,2,35,3],[35,4,35,5],[36,0,36,6],[37,0,37,2],[37,3,37,4],[37,5,37,6]]}
["其他项目清单与计价汇总表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程(土建部分）",null,null,"标段：",null,"第 1 页  共 1 页"]
["序号","项目名称","金额（元）",null,"结算金额（元）",null,"备注"]
["1","暂列金额","0.00",{"$nulls":3},"明细详见表-12-1"]
["2","暂估价","0.00"]
["2.1","材料暂估价","—",{"$nulls":3},"明细详见表-12-2"]
["2.2","专业工程暂估价","0.00",{"$nulls":3},"明细详见表-12-3"]
["3","计日工",{"$nulls":4},"明细详见表-12-4"]
["4","总承包服务费",{"$nulls":4},"明细详见表-12-5"]
["5","预算包干费"]
["6","工程优质费"]
["7","概算幅度差"]
["8","现场签证费用"]
["9","索赔费用"]
["10","其他费用"]
{"$rows_empty":20}
["合    计",{"$nulls":5},"—"]
["注：材料（工程设备）暂估单价进入清单项目综合单价，此处不汇总。"]
[{"$nulls":5},"表—12"]

{"sheet":"表-13 规费、税金项目清单与计价表【广州市花都区职业技术_1","index":7,"n_rows":37,"n_cols":7,"rows_kept":37,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,4],[1,5,1,6],[2,4,2,5],[3,4,3,5],[4,4,4,5],[5,4,5,5],[6,4,6,5],[7,4,7,5],[8,4,8,5],[9,4,9,5],[10,4,10,5],[11,4,11,5],[12,4,12,5],[13,4,13,5],[14,4,14,5],[15,4,15,5],[16,4,16,5],[17,4,17,5],[18,4,18,5],[19,4,19,5],[20,4,20,5],[21,4,21,5],[22,4,22,5],[23,4,23,5],[24,4,24,5],[25,4,25,5],[26,4,26,5],[27,4,27,5],[28,4,28,5],[29,4,29,5],[30,4,30,5],[31,4,31,5],[32,4,32,5],[33,4,33,5],[34,0,34,5],[35,0,35,2],[35,3,35,6],[36,0,36,2],[36,3,36,4],[36,5,36,6]]}
["规费、税金项目清单与计价表"]
["工程名称：广州市花都区职业技术学校换装1×1000kVA专用欧式箱变工程(土建部分）",null,null,"标段：",null,"第 1 页  共 1 页"]
["序号","项目名称","计算基础","计算基数","计算费率\n(%)",null,"金额(元)"]
["1","增值税销项税额","分部分项合计+措施合计+其他项目",null,"9"]
{"$rows_empty":30}
["合    计"]
[" 编制人（造价人员）：",null,null,"复核人（造价工程师）："]
[{"$nulls":5},"表—13"]